## Data and Summary Report
Booster Heater Energy Audit - Summary Report
Gas and Electric Comparison
[5 empty] | As at: | 2026-08-05
1. Base Data
Complete the Blue boxes
|  | Customer name & project: | Main Street Station
|  | Dishwasher make & model: | Stero-STPC-18
| Rinse water usage: | 1 | 276 | gallons per hour (gph)
| Daily usage: | 2 | 10 | hours (estimated total rinse cycle usage)
| Required rinse temp: | 3 | 180 | °F
| Incoming water temp: | 4 | 140 | °F
| Required temp rise: | 5 | 40
| Days used per month: | 6 | 30
| Months used per year: | 7 | 12
Electric
| Electric energy cost: | 8 | 0.034 | per kilowatt-hour (kWh)
| Electric demand cost: | 9 | 1.08 | per kilowatt (kW)
| Estimated actual demand: | 10 | 40% | (recommended range 30-50%)
Gas
| Gas cost: | 11 | 0.53242 | per therm
| Gas fuel cost adjust: | 12 | 0.01459 | per therm
| Total gas cost: | 13 | 0.54701 | per therm
2. Results
Annual Energy Cost
|  | Electric: | 3508.6821
|  | Gas: | 2263.7156
|  | Difference (electric- gas): | 1244.9665
3. Gas Payback
Gas boosters cost more to buy, but generally offer lower running costs:
|  | Net price of electric booster: |  | Insert net price for a C-xx or S-xx of at least 27.5 kW. Round up to nearest.
|  | Net price of gas booster: |  | Insert net price for a PMG-200
|  | Difference (gas - electric): | 0
|  | Gas payback period: | 0 | years

## Calculations & Detailed Report
Booster Water Heater Estimated Energy Cost Worksheet - Detailed Report
[20 empty] | As at: | 2026-08-05
1. Base Data Summary
|  |  | Dishwasher Make & Model: | Stero-STPC-18 | [9 empty] | Customer Name & Project: | Main Street Station
Electric
|  | Rinse Water Usage: | 1 | 276 | gph |  |  |  |  | Electric energy cost |  |  |  |  | 8 | 0.034 | per kWh
|  | Daily Usage: | 2 | 10 | hrs | (est. total rinse cycle usage) |  |  |  | Electric demand cost |  |  |  |  | 9 | 1.08 | per kW
|  | Required rinse temp: | 3 | 180 | °F |  |  |  |  | Estimated actual demand |  |  |  |  | 10 | 0.4 | (recommended range 30-50%)
|  | Incoming water temp: | 4 | 140 | °F
|  | Required temp rise: | 5 | 40 | °F |  |  |  |  | Gas
|  | Days used per month: | 6 | 30 | [5 empty] | Gas cost |  |  |  |  | 11 | 0.53242 | per therm
|  | Months used per year: | 7 | 12 | [5 empty] | Gas fuel cost adjust |  |  |  | + | 12 | 0.01459 | per therm
[10 empty] | Total gas cost |  |  |  | = | 13 | 0.54701 | per therm
2. Heat Requirements
|  | 40 | x | 8.33 | x | 276 |  |  | = | 91963.2 | x | 10 |  |  | = | 919632
|  | temp rise |  | weight of |  | gph (1) |  |  |  | BTU per hour |  | Daily |  |  |  | Daily BTU's required
|  | required (5) |  | 1 gallon | [5 empty] | 14 |  | usage (2) |  |  |  | 15
3. Booster Sizing
|  | Electric | [7 empty] | Gas
|  | 91963.2 | ÷ | 3344 | = | 27.501 |  |  |  | 91963.2 | ÷ | 80% |  |  | = | 114954
|  | BTU per |  | efficiency |  | kW needed |  |  |  | BTU per hour (14) |  | efficiency |  |  |  | BTU needed
|  | hour (14) |  | (3412 @ 98%) |  | 16 | [9 empty] | 17
[5 empty] | Compact/Imperial booster size needed: | [9 empty] | Powermite booster size needed: | PMG-200
4. Estimated Cost Analysis
Electric (at 98 % efficiency)
919632 | ÷ | 3344 | = | 275.0096 | x | 0.034 | = | 9.3503 | x | 30 | = | 280.5098 | + | 11.8804 | = | 292.3902 | x | 12 | = | 3508.6821
Daily BTU |  | BTU per kW |  | Daily kWh |  | Cost per |  | Daily electric |  | Days used |  | Monthly |  | Monthly |  | Total |  | Months per |  | Annual
required (15) |  |  |  | required |  | kWh (8) |  | energy cost |  | per month (6) |  | energy cost |  | demand |  | monthly cost |  | year (7) |  | Electric Cost
charge
(16x10x9)
Gas (at 80% efficiency)
|  |  |  | 919632 | ÷ | 80000 | = | 11.4954 | x | 0.54701 | = | 6.2881 | x | 30 | = | 188.643 | x | 12 | = | 2263.7156
|  |  |  | Daily BTU |  | Btu per therm |  | Daily therms |  | Cost per |  | Daily gas |  | Days used |  | Monthly |  | Months per |  | Annual
|  |  |  | required (15) |  | at 80% effic. |  | required |  | therm (13) |  | cost |  | per month (6) |  | gas cost |  | year (7) |  | Gas Cost